## Spectra
Wavelength_nm | cal_01 | cal_02 | cal_03 | cal_04 | cal_05 | cal_06 | cal_07 | cal_08 | cal_09 | cal_10 | cal_11 | cal_12 | cal_13 | cal_14 | cal_15 | unknown_A | unknown_B | unknown_C | unknown_D | unknown_E
240 | 0.15694 | 0.16536 | 0.16541 | 0.14697 | 0.15943 | 0.15443 | 0.15795 | 0.15898 | 0.15587 | 0.15792 | 0.15621 | 0.14322 | 0.15439 | 0.14744 | 0.17123 | 0.17271 | 0.14886 | 0.15229 | 0.16884 | 0.16477
242 | 0.1705 | 0.16785 | 0.16216 | 0.14889 | 0.15695 | 0.16503 | 0.16553 | 0.16008 | 0.1595 | 0.16298 | 0.15959 | 0.14829 | 0.17243 | 0.15608 | 0.1563 | 0.15514 | 0.16163 | 0.15136 | 0.17062 | 0.16291
244 | 0.17628 | 0.17357 | 0.16928 | 0.14644 | 0.16612 | 0.16611 | 0.17672 | 0.1576 | 0.15543 | 0.17335 | 0.15777 | 0.15244 | 0.1619 | 0.15473 | 0.16883 | 0.14717 | 0.15956 | 0.16737 | 0.17439 | 0.16692
246 | 0.16534 | 0.18447 | 0.178 | 0.14956 | 0.16462 | 0.17291 | 0.1816 | 0.15196 | 0.13787 | 0.16052 | 0.16638 | 0.15448 | 0.15842 | 0.15257 | 0.18357 | 0.15921 | 0.1736 | 0.165 | 0.18606 | 0.18288
248 | 0.17713 | 0.18914 | 0.18514 | 0.1441 | 0.16506 | 0.1882 | 0.18526 | 0.16811 | 0.15387 | 0.16856 | 0.17598 | 0.16969 | 0.16805 | 0.15368 | 0.16946 | 0.16252 | 0.16457 | 0.16598 | 0.19081 | 0.19214
250 | 0.19453 | 0.20142 | 0.19472 | 0.15705 | 0.17059 | 0.19369 | 0.19633 | 0.18089 | 0.15342 | 0.17334 | 0.19035 | 0.16721 | 0.16019 | 0.15277 | 0.17951 | 0.16688 | 0.16786 | 0.17735 | 0.20097 | 0.20771
252 | 0.20079 | 0.20745 | 0.1986 | 0.15304 | 0.18542 | 0.20709 | 0.19887 | 0.16612 | 0.15687 | 0.18556 | 0.20381 | 0.15789 | 0.1727 | 0.16454 | 0.19319 | 0.16531 | 0.16862 | 0.19087 | 0.21032 | 0.21696
254 | 0.21065 | 0.21765 | 0.20448 | 0.14679 | 0.19976 | 0.20639 | 0.2153 | 0.18549 | 0.16606 | 0.20049 | 0.19334 | 0.16956 | 0.18067 | 0.15421 | 0.20168 | 0.17919 | 0.17926 | 0.17654 | 0.21832 | 0.21927
256 | 0.21185 | 0.22677 | 0.21299 | 0.15087 | 0.19656 | 0.21055 | 0.22385 | 0.18353 | 0.14698 | 0.20867 | 0.21237 | 0.17013 | 0.18629 | 0.15727 | 0.21964 | 0.18196 | 0.184 | 0.18709 | 0.21478 | 0.22083
258 | 0.22578 | 0.21878 | 0.20792 | 0.16056 | 0.19962 | 0.21992 | 0.23466 | 0.19112 | 0.16081 | 0.21565 | 0.21314 | 0.17856 | 0.20075 | 0.16271 | 0.2284 | 0.17218 | 0.19605 | 0.19638 | 0.2349 | 0.2327
260 | 0.22556 | 0.22732 | 0.21205 | 0.16638 | 0.20674 | 0.22902 | 0.23765 | 0.19322 | 0.17659 | 0.21638 | 0.23439 | 0.19392 | 0.21212 | 0.17567 | 0.23332 | 0.18711 | 0.19836 | 0.21748 | 0.24085 | 0.24049
262 | 0.21851 | 0.22555 | 0.21417 | 0.17797 | 0.21872 | 0.23612 | 0.25311 | 0.20973 | 0.17837 | 0.22685 | 0.24856 | 0.21719 | 0.23646 | 0.19942 | 0.27295 | 0.19703 | 0.21977 | 0.21982 | 0.24936 | 0.24173
264 | 0.21939 | 0.2219 | 0.21728 | 0.19134 | 0.22091 | 0.23931 | 0.26965 | 0.23853 | 0.22054 | 0.26521 | 0.26548 | 0.2441 | 0.26333 | 0.24148 | 0.30609 | 0.18855 | 0.25234 | 0.23703 | 0.28602 | 0.24396
266 | 0.20807 | 0.22084 | 0.22797 | 0.18871 | 0.2305 | 0.2626 | 0.28437 | 0.26257 | 0.24942 | 0.29783 | 0.32207 | 0.3008 | 0.32445 | 0.30528 | 0.37548 | 0.19038 | 0.30844 | 0.24708 | 0.31429 | 0.25601
268 | 0.19191 | 0.22882 | 0.22484 | 0.19793 | 0.25895 | 0.28677 | 0.31385 | 0.30876 | 0.30093 | 0.35283 | 0.36802 | 0.3534 | 0.39926 | 0.38762 | 0.44367 | 0.19938 | 0.37886 | 0.27741 | 0.35124 | 0.26266
270 | 0.19117 | 0.21345 | 0.23567 | 0.21375 | 0.28024 | 0.33107 | 0.34887 | 0.35511 | 0.35318 | 0.41669 | 0.43796 | 0.44234 | 0.47157 | 0.48504 | 0.54322 | 0.21489 | 0.4497 | 0.32551 | 0.39477 | 0.27778
272 | 0.17579 | 0.22484 | 0.25587 | 0.25419 | 0.31648 | 0.36293 | 0.39138 | 0.40726 | 0.43003 | 0.48438 | 0.51381 | 0.55038 | 0.57129 | 0.59148 | 0.66297 | 0.21412 | 0.54311 | 0.36766 | 0.45904 | 0.30291
274 | 0.18027 | 0.21021 | 0.25684 | 0.27399 | 0.33853 | 0.38295 | 0.43064 | 0.47205 | 0.50023 | 0.55969 | 0.59588 | 0.62879 | 0.68411 | 0.71278 | 0.77744 | 0.23926 | 0.64096 | 0.4156 | 0.50943 | 0.319
276 | 0.16873 | 0.21905 | 0.27246 | 0.29874 | 0.35574 | 0.41734 | 0.47404 | 0.51296 | 0.55407 | 0.6178 | 0.67056 | 0.71554 | 0.76029 | 0.80738 | 0.87261 | 0.2475 | 0.71774 | 0.44962 | 0.56051 | 0.34006
278 | 0.16196 | 0.22056 | 0.26676 | 0.3118 | 0.37078 | 0.42953 | 0.49485 | 0.54706 | 0.59312 | 0.65961 | 0.71148 | 0.76037 | 0.82652 | 0.86603 | 0.92403 | 0.26749 | 0.77814 | 0.47699 | 0.58471 | 0.34987
280 | 0.15244 | 0.21795 | 0.26841 | 0.31754 | 0.39098 | 0.43737 | 0.51165 | 0.54848 | 0.60508 | 0.6626 | 0.72649 | 0.77954 | 0.83251 | 0.8838 | 0.95613 | 0.25471 | 0.77499 | 0.48147 | 0.60044 | 0.34004
282 | 0.15636 | 0.20918 | 0.25319 | 0.31514 | 0.37811 | 0.42681 | 0.49028 | 0.53269 | 0.5799 | 0.64334 | 0.70232 | 0.75151 | 0.81725 | 0.86404 | 0.9152 | 0.25702 | 0.75861 | 0.46885 | 0.57717 | 0.33021
284 | 0.13964 | 0.19606 | 0.23868 | 0.28859 | 0.33929 | 0.39914 | 0.44487 | 0.48631 | 0.53839 | 0.59326 | 0.65065 | 0.6898 | 0.74284 | 0.7915 | 0.84553 | 0.22421 | 0.69659 | 0.43302 | 0.52215 | 0.31654
286 | 0.12891 | 0.1727 | 0.22226 | 0.25727 | 0.30044 | 0.34217 | 0.38513 | 0.43727 | 0.47255 | 0.52286 | 0.55914 | 0.59823 | 0.64808 | 0.67959 | 0.72489 | 0.21281 | 0.59783 | 0.36814 | 0.46419 | 0.26751
288 | 0.12023 | 0.15433 | 0.18091 | 0.21848 | 0.26892 | 0.29127 | 0.32313 | 0.3565 | 0.39994 | 0.43065 | 0.45888 | 0.50415 | 0.54589 | 0.56988 | 0.60879 | 0.1871 | 0.50283 | 0.30703 | 0.38942 | 0.22447
290 | 0.11696 | 0.14513 | 0.16843 | 0.18124 | 0.21125 | 0.23139 | 0.2775 | 0.30071 | 0.32784 | 0.35148 | 0.38095 | 0.39513 | 0.42439 | 0.45375 | 0.47415 | 0.15616 | 0.40003 | 0.26947 | 0.3265 | 0.18924
292 | 0.10845 | 0.12368 | 0.1446 | 0.15843 | 0.17477 | 0.19783 | 0.21885 | 0.23441 | 0.24758 | 0.27103 | 0.28921 | 0.31349 | 0.32248 | 0.34096 | 0.35756 | 0.14115 | 0.31202 | 0.21958 | 0.25481 | 0.16785
294 | 0.10252 | 0.10476 | 0.12108 | 0.13648 | 0.15314 | 0.15532 | 0.17687 | 0.19324 | 0.19772 | 0.21018 | 0.22994 | 0.24199 | 0.24519 | 0.26119 | 0.27687 | 0.12989 | 0.24464 | 0.16468 | 0.19549 | 0.14113
296 | 0.097742 | 0.096097 | 0.10188 | 0.1288 | 0.12361 | 0.13057 | 0.13097 | 0.1536 | 0.16567 | 0.16951 | 0.17457 | 0.18213 | 0.1904 | 0.18659 | 0.20459 | 0.10736 | 0.18001 | 0.12829 | 0.15634 | 0.12005
298 | 0.1043 | 0.09048 | 0.10093 | 0.10578 | 0.10954 | 0.10887 | 0.12422 | 0.13409 | 0.12323 | 0.12028 | 0.13599 | 0.13958 | 0.13646 | 0.15836 | 0.15124 | 0.089618 | 0.13602 | 0.11809 | 0.1268 | 0.11378
300 | 0.086227 | 0.094161 | 0.090488 | 0.10205 | 0.097697 | 0.10063 | 0.10642 | 0.11057 | 0.10375 | 0.10341 | 0.1158 | 0.11892 | 0.12254 | 0.12868 | 0.13243 | 0.09316 | 0.11636 | 0.10864 | 0.10683 | 0.080936
302 | 0.08348 | 0.088711 | 0.090543 | 0.087444 | 0.093774 | 0.082507 | 0.087685 | 0.086211 | 0.098154 | 0.089347 | 0.11125 | 0.098987 | 0.09891 | 0.10192 | 0.1021 | 0.083526 | 0.10739 | 0.1048 | 0.090112 | 0.093239
304 | 0.080005 | 0.089666 | 0.086283 | 0.079673 | 0.095865 | 0.079253 | 0.085857 | 0.088916 | 0.095017 | 0.076582 | 0.10368 | 0.097464 | 0.099373 | 0.095295 | 0.093945 | 0.083998 | 0.086121 | 0.091623 | 0.088881 | 0.096357
306 | 0.087199 | 0.08123 | 0.093693 | 0.07858 | 0.085206 | 0.097729 | 0.086824 | 0.0785 | 0.08589 | 0.082041 | 0.086818 | 0.075703 | 0.072616 | 0.07281 | 0.089175 | 0.083547 | 0.081285 | 0.082938 | 0.08127 | 0.077698
308 | 0.089063 | 0.083365 | 0.081101 | 0.078311 | 0.086651 | 0.075188 | 0.083351 | 0.080051 | 0.09126 | 0.087907 | 0.084496 | 0.081646 | 0.079066 | 0.076971 | 0.080316 | 0.072284 | 0.087036 | 0.077646 | 0.075751 | 0.080423
310 | 0.080494 | 0.084982 | 0.075137 | 0.094099 | 0.069078 | 0.074849 | 0.079727 | 0.090598 | 0.086721 | 0.079922 | 0.088139 | 0.069787 | 0.071664 | 0.08007 | 0.08471 | 0.071576 | 0.080413 | 0.081536 | 0.084635 | 0.076828
312 | 0.075093 | 0.078297 | 0.081247 | 0.075263 | 0.079918 | 0.091251 | 0.079627 | 0.084093 | 0.085337 | 0.081492 | 0.075251 | 0.071374 | 0.075406 | 0.073949 | 0.077201 | 0.083061 | 0.084233 | 0.078448 | 0.082629 | 0.074831
314 | 0.07419 | 0.081885 | 0.080471 | 0.084188 | 0.074105 | 0.096602 | 0.077666 | 0.074991 | 0.082516 | 0.085734 | 0.081204 | 0.087395 | 0.080705 | 0.083512 | 0.076763 | 0.076013 | 0.079132 | 0.073086 | 0.06847 | 0.077202
316 | 0.082082 | 0.074209 | 0.086338 | 0.072768 | 0.070875 | 0.071161 | 0.079108 | 0.072112 | 0.092163 | 0.086165 | 0.078046 | 0.083575 | 0.077131 | 0.090192 | 0.086386 | 0.062794 | 0.082414 | 0.090484 | 0.07746 | 0.086751
318 | 0.081713 | 0.075076 | 0.082266 | 0.082845 | 0.071988 | 0.075048 | 0.086087 | 0.077455 | 0.076028 | 0.076845 | 0.079144 | 0.072945 | 0.075742 | 0.070203 | 0.07102 | 0.081964 | 0.071051 | 0.087969 | 0.083233 | 0.08828
320 | 0.079619 | 0.07407 | 0.078502 | 0.07867 | 0.074356 | 0.07841 | 0.060961 | 0.069062 | 0.06434 | 0.084483 | 0.071362 | 0.067347 | 0.075407 | 0.071338 | 0.061886 | 0.077994 | 0.07629 | 0.083177 | 0.082717 | 0.074345

## Calibration_values
Spectrum | Concentration_mg_per_mL
cal_01 | 0.1
cal_02 | 0.236
cal_03 | 0.371
cal_04 | 0.507
cal_05 | 0.643
cal_06 | 0.779
cal_07 | 0.914
cal_08 | 1.05
cal_09 | 1.186
cal_10 | 1.321
cal_11 | 1.457
cal_12 | 1.593
cal_13 | 1.729
cal_14 | 1.864
cal_15 | 2

## Answer_key
Do not look at this sheet until after you've run PLS and predicted the unknowns!
Spectrum | True_concentration_mg_per_mL
unknown_A | 0.35
unknown_B | 1.62
unknown_C | 0.88
unknown_D | 1.15
unknown_E | 0.55

## Info
Story
A lab measures UV absorbance spectra (240-320 nm) of 15 samples with
known protein concentration (a calibration series), plus 5 unknown
samples whose concentration needs to be PREDICTED from the spectrum
alone -- the classic use case for PLS regression.
Why not just read the peak height at 280 nm directly?
Each spectrum also has a second, unrelated absorbance feature near
260 nm (simulating a nucleic-acid contaminant) whose size varies
randomly and independently of protein concentration. Reading only
one wavelength is thrown off by that; PLS uses the whole spectral
shape and is far more robust to this kind of unrelated interference.
How to use this file
1. File -> Import data -> select this workbook (Spectra sheet).
2. Select all 20 imported spectra, open Visualization & Analysis ->
PLS / PLS-DA.
3. Choose 'Regression'. In the calibration table, type in the 15
Concentration_mg_per_mL values from the Calibration_values sheet
next to cal_01 .. cal_15. Leave unknown_A .. unknown_E blank.
4. Click Run. The Results table will show predicted concentrations
for unknown_A .. unknown_E.
5. Compare your predictions against the Answer_key sheet.
Ground truth (for reference)
Calibration concentrations (mg/mL): | 0.1, 0.236, 0.371, 0.507, 0.643, 0.779, 0.914, 1.05, 1.186, 1.321, 1.457, 1.593, 1.729, 1.864, 2.0
True unknown concentrations (mg/mL): | unknown_A=0.35, unknown_B=1.62, unknown_C=0.88, unknown_D=1.15, unknown_E=0.55
Expected PLS result: | Auto-selection typically picks around 4-5 components (the extra components are needed to partially correct for the unrelated interferent, not because the real signal is complex); RMSECV should land around 0.03 mg/mL; predictions should track the true unknown values closely, though not exactly, due to the added noise/interferent.